Title: Report from nagios-based dashboard evaluation
Authors: Central European ROD/COD team: Marcin Radecki, Małgorzata Krakowian
Date: 15.01.2010
To: COD people

This document contains results of new nagios-based dashboard evaluation for performing Operations Support activity by ROD and CCOD teams.

The new system was examined for the usefullness for the operations support activity at all levels (COD, ROD, 1st line, site admin).

# Scope of changes
With new dashboard not only the dashboard itself changes but also the monitoring system and the test results presentation layer. The thing which remains the same are tests (aka probes). This makes the situation even harder to handle as the operators and site admins make use of all these tools.

## Two dashboard discrepancies
At the moment the state of sites as presented by the two dashboards differs. I.e. there are alarms for some tests which are present in one dashboard but not in the other and vice versa. If some service is failing for some time it should be reported in both dashboards.
Below we present a case of PSNC, Poland site which started fail CE-sft-job test on 14.01.2010 at around 16.00 according to SAM. The failure was cleared at around 7.12 but was not presented in nagios-based dashboard at all.
The discrepancy visible on presence of Cream-CE related in nagios dashboard for this day and not present in SAM-based dashboard can be explained as there were some alarms for Cream-CE in SAM-based dashboard but were turned off by operations team (normal daily procedure).
We have to be sure that all SAM tests which can raise alarms have equivalent in Nagios and such comparison should be available. Right now we don't have such information. Also it is necessary to know which NAGIOS tests status generate alarm. The description of Nagios tests statuses in the context of operations workflow should be available. These data should be presented online in an official place.
We suggest to set the coherency of the two dashboards as a condition under which we can consider switch from one to another.

Illustration 1: SAM history of test results for PSNC site

Illustration 2: Nagios history for CE at PSNC site

Illustration 3: Alarms for PSNC site in SAM-based dashboard

Illustration 4: Alarms for PSNC site in nagios-based dashboard
## Test output not verbose enough, documentation missing
While fixing the problem it is crucial to see exaclty what command failed and what error message generated. Especially in the situation with grid middleware that error messages were reported to be handled badly, misleading etc. Site administrators are using two places for examine what was the problem:
1. Test results
2. Test source code
Ad 1) In SAM we have full output of the test which make it easy to determine why the test failed. It seems like in NAGIOS test output is not verbose enough and often truncated.
Ad 2) In SAM it is possible to see the source code of the test which is executed at site (http://grid.cyfronet.pl/sam-doc/). This allows the site administrators to understand what and how is checked. By this way they are able to understand and reproduce the error at the site and then think out how to fix the problem. We think that efficient support is hampered if we don't know exactly what's done in the test. NAGIOS probles do not have such documentation.

We suggest full output of the failing test and the test source code should be available for the site administrators and operators.
## Test results history insufficient
One of the most important feature used by grid operators is checking the test result history. It is used to determine if the failure was permanent or transient. Some ROD teams start to act only if there are at least two failures in a row. In the new system the tests result history seems a bit insufficient. Note that for how long the test is failing is useful but also how many times the test was executed and failed. The way how the history is presented seems a bit unwieldy (according to SAM functionality).
# Dashboard functionality
We understand that dashboard functionality is the same as on SAM-based dashboard instance and we are happy with functionality which is provided.
# Conclusion
The system seems to be not ready for a switch yet. There are issues related to equivalence of results presented in the dashboards which needs to be understood and fixed and usability features which are missing like verbosity, documentation, results history.

# References
1. SAM-based dashboard: https://operations-portal.in2p3.fr/
2. Nagios-based dashboard: https://operations-portal.in2p3.fr/nagios