CE ROD report for evaluation of nagios-based monitoring

12 Feb 2010
ver. 0.1

# Report
These are results from the evaluation of nagios-based monitoring done by federation Central European. The report includes feedback from Regional Operator on Duty and 1st line supporters. Some remarks from site admins were also included.
## Dashboard

Federation “to be filled”	Validation ( OK/NOK)	Comments (if blocking item)	Date of check
Alarms Handling: / Open, mask, close	OK		11.02.2010
Tickets Handling: / Open, update	OK		11.02.2010
Escalation process	OK		11.02.2010
Handover report	OK		11.02.2010
Metrics	NOK	C-COD metrics should be synchronized with version available in SAM based dashboard	12.02.2010

## Monitoring infrastructure

Federation “to be filled”	Validation ( OK/NOK)	Comments (if blocking item)	Date of check
Discrepancy level	OK (for critical services)	Should check the core services as well i.e. topBDII, WMS, LFC etc.	10-12.02.2010
Usability of nagios-based monitroring infrastructure for ROD work	NOK	Alarm handling is OK. Troubleshooting technical issues based on info provided by nagios is unacceptable.	10-12.02.2010

## Other comments
1. An infrastructure monitoring system is a base on which operations support process relies. The process involves people from COD, RODs, 1st line support teams and site administrators. All of them are customers of the system and their needs and expectations are various. COD and ROD teams are using the system to evaluate the infrastructure's stability and efficiency of operations support process, so they need a general information on what kind of problems appears, where and how many. On the other hand 1st line support and site admins are using the system to fix the issues and problems reported, thus they need to go into depth for the problem analysis, understanding and remedy. ROD team from CE region report the system suits the needs.
2. Below are issues reported by 1st line support and site admins:
  1. System verbosity seems too low.
    1. Support teams which are remote to the site need more info to provide help to site admin. The verbosity of nagios is limited compared to SAM, so the only way to get more info about the failure is to look at logs at site to which the 1st line support does not have access.
    2. Complete error report is more useful than logs of gLite services. SAM reports not only the error message but also the command that was executed which allows to reproduce the problem.
    3. Nagios is missing the full test output as well as documentation containing source code of the executed tests. This makes an understanding of why the test is failing more difficult. It would be perfect if by clicking on a test result summary it would be possible to get more detailed info.
    4. It is troublesome to relate some problems e.g. check if the test was executed on the same WN or not.
  2. Lack of permissions to on-demand test submission. The same access rights as currently in SAMAP should be implemented in nagios. Site admins should be able to submit manual checks for their sites, and regional operations support team for sites in the region. Currently, it is impossible to test it in nagios due to lack of access rights for manual submission.
  3. Issues with usability of nagios web interface for regional support teams. It is felt as “to be improved”:
    1. Missing possibility of scheduling a manual test at “Service Availablity Report”. When a site admin reveals such a problem he/she very often wants to run aditional check to prove the problem is persistent. The manual check can be submited from Service Information web page which requires a couple of clicks on web interface.
    2. Missing service grouping. Services should be grouped according to sites and countries rather than displayed alphabetically as here: https://sam-ce-roc.cern.ch/nagios/cgi-bin/status.cgi?hostgroup=all&style=hostdetail
    3. Too many information displayed at one page: https://sam-ce-roc.cern.ch/nagios/cgi-bin/status.cgi?host=all
    4. Wrong order of items displayed at “Service Availability Report” (linked from operations dashboard). Order should be reversed – the most recent entries should be at top
    5. Too flashy colors. It is important for daily usage that system ergonomics is better.
  4. Wrong output formatting in Host Alert History. Output formatting should be fixed. In the form which is right now it is unreadable (looks like very long single line of text mixed with many “\n”).
    - Report for host 'egee-ce1.gup.uni-linz.ac.at' does not contain any occurence of this hostname. Instead we have lots of 'ce2.egee.cesnet.cz'.